## WIS & IGN Sought
Type | Category | Reference | Function | Actual or Inferred title | Year | Month | Issue | Developed by / Consultees | Notes
IGN | General | 4-00-02 | Common | ? | ? | ? | 2 |  | Allocation of number series overlaps with 4-00-02 Issue 1 on a different topic. Unclear what other internal WUK (and precursor bodies') might have been covered by issues 2-7 preceding the current Issue 8.1
IGN | General | 4-00-02 | Common | ? | ? | ? | 3 |  | Allocation of number series overlaps with 4-00-02 Issue 1 on a different topic. Unclear what other internal WUK (and precursor bodies') might have been covered by issues 2-7 preceding the current Issue 8.1
IGN | General | 4-00-02 | Common | ? | ? | ? | 4 |  | Allocation of number series overlaps with 4-00-02 Issue 1 on a different topic. Unclear what other internal WUK (and precursor bodies') might have been covered by issues 2-7 preceding the current Issue 8.1
IGN | General | 4-00-02 | Common | ? | ? | ? | 5 |  | Allocation of number series overlaps with 4-00-02 Issue 1 on a different topic. Unclear what other internal WUK (and precursor bodies') might have been covered by issues 2-7 preceding the current Issue 8.1
IGN | General | 4-00-02 | Common | ? | ? | ? | 6 |  | Allocation of number series overlaps with 4-00-02 Issue 1 on a different topic. Unclear what other internal WUK (and precursor bodies') might have been covered by issues 2-7 preceding the current Issue 8.1
IGN | General | 4-00-02 | Common | ? | ? | ? | 7 |  | Allocation of number series overlaps with 4-00-02 Issue 1 on a different topic. Unclear what other internal WUK (and precursor bodies') might have been covered by issues 2-7 preceding the current Issue 8.1
WIS | General | 4-02-01 | Water | Operational requirements: in situ resin lining of watermains | ? | ? | 1 |  | Inferred from existence of Issues 2.1; 3; 4; 5; 6.2;7.3 and 8.
IGN | General | 4-02-02 | Water | Code of practice: in situ resin lining of watermains | ? | ? | 1 |  | Inferred from existence of IGN 4-02-02 Issue 4.3.
IGN | General | 4-02-02 | Water | Code of practice: in situ resin lining of watermains | ? | ? | 2 |  | Inferred from existence of IGN 4-02-02 Issue 4.3.
IGN | General | 4-02-02 | Water | Code of practice: in situ resin lining of watermains | ? | ? | 3 |  | Inferred from existence of IGN 4-02-02 Issue 4.3.
WIS | General | 4-02-03 | Water | Operational requirements: in situ polymeric lining of service pipes | 2016 | March | V1 | Prepared for the UK Water Industry’s Standards Board by NSF-WRc Ltd. in consultation with the Water Industry | An interim version for comment prior to the publication of Version 1A in December 2016 was kindly donated by David Chrystie-Lowe, Control Point Ltd. Version is endorsed 'for comment' so isn't necessarily the final version.Version 1A was required to correct typographical errors in version 1. Version 1 has yet to be located & uploaded.
IGN | General | 4-08=01 | Common | Imported granular and selected as-dug bedding and sidefill materials for buried pipelines | ? | ? | 1 |  | Inferred from existence of Issue 3
IGN | General | 4-08=01 | Common | Imported granular and selected as-dug bedding and sidefill materials for buried pipelines | ? | ? | 2 |  | Inferred from existence of Issue 3
IGN | Cementitious & Clay | 4-10-01 | Common | Bricks and mortar | 1982 | ? | 1 |  | Publication of Issue 1 referred to in Issue 2
IGN | Cementitious & Clay | 4-11-01 | Wastewater | Vitrified clay pipes and fittings | ? | ? | 1 |  | Inferred from the existence of Issue 2.
IGN | Cementitious & Clay | 4-12-01 | Wastewater | Precast concrete pipes -unreinforced and reinforced | ? | ? | 1 |  | Inferred from the existence of Issues 3 & 4.
IGN | Cementitious & Clay | 4-12-01 | Wastewater | Precast concrete pipes -unreinforced and reinforced | ? | ? | 2 |  | Inferred from the existence of Issues 3 & 4.
IGN | Cementitious & Clay | 4-12-02 | Wastewater | Glass fibre strengthened concrete pipes | ? | ? | 1 |  | Inferred from the existence of Issue 2.
IGN | Cementitious & Clay | 4-12-03 | Common | Asbestos cement pipes and fittings | ? | ? | 1 |  | Inferred from the existence of Issue 2.
IGN | Metals | 4-21-01 | Common | Ductile iron pipes and fittings | ? | ? | 1 |  | Inferred from the existence of Issues 2 and 3.
IGN | Metals | 4-21-07 | ? | ? | 1991 | November | 2 |  | Only reason for identification is a reference in an undated WUK price list provided by Don Ridgers when WUK documents charged for. Appears in 'Plastics' section where all other WIS/IGN listed are for plastics may be a typo reference to 4-31-07 - but no 4-31-07 Issue 2 of November 1991 identified. ???
IGN | Plastics | 4-31-01 | ? | ? | 1985 | June | 1 |  | Data from WUK price list when documents charged for. Also, inferred from the existence of Issue 2.
WIS | Plastics | 4-31-04 | Water | Specification for unplasticised PVC pressure pipes for cold potable water | ? | ? | 1 | WAA Sewers and Water Mains Committee: Materials and Standards | Ceased to apply (as stated in IGN 4-31-04 Issue 2 August 1988) having been rerplaced by BS 3505 1988.
IGN | Plastics | 4-31-04 | Water | Specification for unplasticised PVC pressure pipes for cold potable water | ? | ? | 1 |  | Inferred from the existence of Issue 2.
WIS | Platics | 4-31-05 | Wastewater | Specification for solid wall concentric external rib-reinforced uPVC sewer pipe | ? | ? | 1 |  | Inferred from existence of Issue 2, July 1991
WIS | Plastics | 4-31-08 | Water | Specification for oriented polyvinyl chloride (MOPVC) pressure pipes for underground use | 1991 | November | 1 |  | Data from WUK price list when documents charged for.
WIS | Plastics | 4-31-08 | Water | Specification for oriented polyvinyl chloride (PVC-O) pressure pipes for underground use | 2001 | January | 2 |  | Inferred from the existence of Issue 2.
IGN | Plastics | 4-31-08 | Water | Specification for molecular oriented polyvinyl chloride (MOPVC) pressure pipes for underground use | 1991 | November | 1 |  | Data from WUK price list when documents charged for.
WIS | Plastics | 4-32-01 | Common | ? |  |  | Any |  | Inferred from extensive existence of 4-32-0* series from -02 onwards.
WIS | Plastics | 4-32-02 | Water | Specification for polyethylene pressure pipe for cold potable water (underground use) |  |  | 1 |  | Inferred to be replaced by Issue 2 (see below).
WIS | Plastics | 4-32-02 | Water | Specification for polyethylene pressure pipe for cold potable water (underground use) |  |  | 2 |  | Archived by publication of IGN 4-32-02 Issue 3 August 1988 indicating BS 6572 had replaced the WIS.
IGN | Plastics | 4-32-03 | Water | Specification for blue polyethylene (PE) pressure pipe for cold potable water (nominal sizes 90-1000) for underground or protected use. | ? | ? | 1 | WAA Sewers and Water Mains Committee: Materials and Standards | Inferred from existence of Issue 3
IGN | Plastics | 4-32-03 | Water | Specification for blue polyethylene (PE) pressure pipe for cold potable water (nominal sizes 90-1000) for underground or protected use. | ? | ? | 2 | WAA Sewers and Water Mains Committee: Materials and Standards | Inferred from existence of Issue 3
IGN | Plastics | 4-32-03 | Water | Specification for blue polyethylene (PE) pressure pipe for cold potable water (nominal sizes 90-1000) for underground or protected use. Amendment | 1989 | July | 3A? |  | Inferred to amend Issue 3.
WIS | Plastics | 4-32-04 | Water | Specification for polyethylene fusion joints and fittings for use with cold potable water pressure pipes | ? | ? | 1 |  | Inferred from existence of Issue 2. Title taken from reference in WIS 4-32-03 Issue 3 May 1987
WIS | Plastics | 4-32-07 | Common | Specification for electrofusion control boxes. | ? | ? | Any |  | Referred to elsewhere.
WIS | Plastics | 4-32-08 | Common | Specification for site fusion jointing of MDPE pipes and fittings | 1988 | November | Issue 1 Amendment |  | Referred to elsewhere.
WIS | Plastics | 4-32-12 | Common | Specification for PE80 and PE100 electrofusion fittings for nominal sizes up to and including [630?] mm | ? | ? | Any |  | Referred to elsewhere.
WIS | Plastics | 4-32-13 | Water | Specification for blue higher performance polyethylene HPPE/PE 100, pressure pipes nominal size 90 to 1000, for underground or protected use for the conveyance of water intended for human consumption | 1993 | March | 1 |  | Data from Water Bulletin Supplement article by David Burgess September 1993 Issue 2. Data saya 'The following WIS & IGN have been revised' but without giving ab Issue No or publication date.
WIS | Plastics | 4-32-17 | Common | Polyethylene pressure pipes for pressurised water supply and sewerage duties | 2000 | March | 1 |  | Inferred from existence of Issue 2.
WIS | Plastics | 4-34-06 | Wastewater | Specification for localised sewer repairs using cured-in-place systems with or without re-rounding | ? | ? | 1 |  | Inferred from existence of Issue 3.
WIS | Plastics | 4-34-06 | Wastewater | Specification for localised sewer repairs using cured-in-place systems with or without re-rounding | ? | ? | 2 |  | Inferred from existence of Issue 3.
WIS | Plastics | 4-35-01 | Wastewater | Specification for thermoplastics structured wall pipes – supplementary test requirements | ? | ? | 1 |  | Inferred from existence of Issue 2.
IGN | Joints / seals / gaskets | 4-40-01 | Common | Selection, properties, storage and installation requirements for elastomeric seals and sealing rings | ? | ? | 1 |  | Inferred from existence of Issue 2.
IGN | Coatings | 4-50-01 | Common | Operational guidelines for the loose polyethylene sleeving of underground iron mains | ? | ? | 1 | WAA Sewers and Water Mains Committee: Materials and Standards | Inferred from existence of Issue 2.